## OPP Safety Survey
OPP Safety Survey (General)
| Building: | W.O./Job No.: |  |  |  |  | Date:
| Inspection Performed By: |  |  |  | *Responsible Supervisor:
A. | Confined Spaces | Yes | No | N/A | F. | Elevated Work Surfaces - Scaffolding |  |  | Yes | No | N/A
1. | Is this a confined space? |  |  |  | 1. | Is scaffolding in good condition?
2. | Is permit completed correctly? |  |  |  | 2. | Has scaffolding been erected properly?
3. | Was gas monitor calibrated by a qualified individual? |  |  |  | 3. | Are rails or Personal Fall Arrest System in place?
4. | Are employees knowledgeable about Confined Space Entry Procedures? |  |  |  | 4. | Are pics approved for such use?
5. | Is the OPP Confined Space Program being followed? |  |  |  | 5. | Has area been properly secured and barricaded around scaffolding?
B. | Designated Work Space | Yes | No | N/A | G. | Floor and Wall Openings and Runways/ Catwalks (with 4 ft. or more to next level) |  |  | Yes | No | N/A
1. | Is the area clearly defined and identified as a work space? |  |  |  | 1. | Are floor openings properly guarded (railings, toe boards) or covered.
2. | Is the area clear of debris and any unnecessary materials? |  |  |  | 2. | Are skylights guarded?
3. | If areas are restricted, are correct procedures being followed to restrict access? |  |  |  | 3. | Are wall openings (including chutes and chases) properly guarded?
[5 empty] | 4. | Are catwalks equipped with railings and toeboards?
C. | Electrical Safety | Yes | No | N/A
1. | Are Extension Cords being used in lieu of permanent wiring? |  |  |  | H. | Hazardous Materials |  |  | Yes | No | N/A
2. | Are extension cords and power strips plugged directly into a wall outlet? |  |  |  | 1. | Have all hazardous materials been identified?
3. | Are extension cords being run under carpet or through doorways? |  |  |  | 2. | All hazardous materials have been abated or controlled?
4. | Are extension cords daisy chained together?
5. | Are powerstrips UL rated? |  |  |  | I. | Lock Out and Tag Out |  |  | Yes | No | N/A
6. | Are power cords in good condition and free of splices? |  |  |  | 1. | Is lock out and tag out required?
7. | Are grounding prongs being removed from extension cords? |  |  |  | 2. | Do employees understand the Lock out Tag out program and it's requirements?
8. | Are outlet, switch and junction box covers in place and in good repair. |  |  |  | 3. | Are proper devices being locked and tagged?
9. | Are circuit breaker panels and emergency shut offs unobstructed and labeled? |  |  |  | 4. | Are only the approved LOTO locks being used?
10. | Are electrical outlets overloaded with appliances, etc?
11. | Are Ground Fault interrupters installed, labeled and operating correctly? |  |  |  | J. | Material Handling and Storage |  |  | Yes | No | N/A
12. | Are energized parts, circuits, and equipment guarded against accidental contact. |  |  |  | 1. | Is there safe clearance for equipment through aisles and doorways?
[5 empty] | 2. | Are containers stored, stacked, secured, and of limited height for stability?
D. | Elevated Work Surfaces - Ladders (Non-Fixed) | Yes | No | N/A | 3. | Are properly rated dock boards used while loading and unloading trailers?
1. | Are ladders in good condition? |  |  |  | 4. | Are trucks and trailers secured from movement during loading and unloading?
2. | Do portable ladders have the antislip feet? |  |  |  | 5. | Are shelving and mezzanines properly rated (and marked) for loads?
[5 empty] | 6. | Are manual pallet jacks, hand-trucks and dollies in good condition?
E. | Elevated Work Surfaces - Motorized | Yes | No | N/A | 7. | Are forklifts and motorized pallet jacks inspected each shift or prior to use?
1. | Are operators licensed in the safe operation of powered industrial trucks, and lifts? |  |  |  | 8. | Are forklift and motorized pallet jack operators licensed?
2. | Has equipment been inspected? |  |  |  | 9. | Are proper lifting techniques being used while lifting or moving loads?
3. | Is equipment in good working order?
4. | Is Personal Fall Arrest System being used for all aerial lifts?
K. | Mechanical Room Safety | Yes | No | N/A | M. | Shop Tools (Hand and Power, Powder Actuated) |  |  | Yes | No | N/A
1. | Are Mechanical rooms proper illuminated? |  |  |  | 1. | Do employees understand safe operation of the power tools they are using?
2. | Are noise levels are within acceptable limits or marked as a hearing protection required? |  |  |  | 2. | Are tools in good working condition?
3. | Are hearing protective devices readily available in mechanical room? |  |  |  | 3. | Are power tools grounded or double insulated?
4. | Are work areas clean, organized, and kept orderly? (Garbage disposed properly, etc.) |  |  |  | 4. | Are rotating or moving parts (chains, gears, belts, etc.) properly guarded?
5. | Is work area properly ventilated for type of equipment or chemicals in use? |  |  |  | 5. | Are machine guards secure and don't present a hazard in their use?
6. | Are vacuum systems used when possible instead of blowing or sweeping dusts? |  |  |  | 6. | Is fixed machinery guarded to prevent splash, spark, and flying chip injuries?
7. | Do temperature and humidity seem to be within acceptable ranges? |  |  |  | 7. | Is equipment and machinery securely in place and anchored to prevent movement?
8. | Is the area free of visible fungal/mold growth and associated odors? |  |  |  | 8. | Are guards and safety interlocks in working condition on the equipment in which it is installed?
9. | Are walls, ceilings, floors free of signs of mold or moisture damage? |  |  |  | 9. | Is equipment and machinery kept clean and properly maintained?
10. | Are air intake areas free of odor-causing materials or hazardous chemicals? |  |  |  | 10. | Is there sufficient clearance around machines for safe operating and services?
11. | Is area free from tripping hazards? |  |  |  | 11. | Are power shut-off switches within reach of operator's position at each machine?
12. | Are identified tripping hazards clearly marked? |  |  |  | 12. | Do machine users understand the safe operation of the machine that they are using?
13. | Are low clearance areas clearly marked? |  |  |  | 13. | Are manually operated control switches and valves clearly identified and accessible?
[5 empty] | 14. | Are emergency stop buttons available and colored red?
L. | Personal Protection Equipment | Yes | No | N/A
1. | Is appropriated head protection available? |  |  |  | N. | Trenching and Shoring |  |  | Yes | No | N/A
2. | Is protective clothing available (coveralls)? |  |  |  | 1. | Are employees following Trenching and Shoring Guidelines?
3. | Are Safety Glasses being utilized? |  |  |  | 2. | Has "PA 1 Call" been notified and the one call up to date for the particular dig?
4. | Is appropriate hand protection available and used if hazard present? |  |  |  | 3. | Has a "competent" person been identified for this job?
5. | Is appropriate hearing protection available and used if hazard present?
6. | Is appropriate footwear being utilized? |  |  |  | O. | Tunnel Work Areas |  |  | Yes | No | N/A
7. | Is protective clothing (coveralls, aprons, etc.) available and used if needed? |  |  |  | 1. | Are employees following OPP Tunnel Entry Procedures?
8. | Is respiratory protection required for the job? |  |  |  | 2. | Are employees following OPP Restricted Entry Guidelines?
9. | Is PPE being properly stored, kept clean, and in good condition?
Notes/Comments/Actions:
*Reminder: Use the Safety Report Form when the hazard cannot be immediately corrected.
S&S/2-25-09