## 11 General Trades
PSU Liberal Arts - DGS
Prepared by Turner Construction Company - 1500 Spring Garden Street, Philadelphia, PA 19130, United States of America
Bid Package Lead: Gabriella Frizlen (gfrizlen@tcco.com)
Project Location: United States of America
11: General Trades | J. C. Orr & Sons, Inc.
Generated May 17, 2022 | Submitted by Alice Mento
Base Bid | 2390350
Original Proposal, May 10, 2022
| Unit | Qty | Unit Cost | Total Cost
LINE ITEMS
General Trades |  |  |  | 2390350
Base Bid Total |  |  |  | 2390350
ALTERNATES
Alternate No. 1: Provide spray applied acoustic insulation in basement mechanical rooms |  |  |  | 0
Alternate No. 2: Provide all metal storage shelving and mobile storage shelving systems |  |  |  | 960965
Alternate No. 3: Provide formed metal panel generator screen wall |  |  |  | 0
Alternate No. 4: Provide terracotta rain screen assembly ILO thin brick assembly |  |  |  | 0
Alternate No. 5: Provide acid etched bird-friendly glazing |  |  |  | 0
Alternate No. 6: Provide Aircuity in select areas ILO specified system |  |  |  | 0
Alternate No. 7: Provide additional bypass valves on all Variable Air Volume (VAV) reheat coils |  |  |  | 0
Alternate No. 8: Utilize Commercial VAV boxes in lieu Accutrol Variable Air Volume (VAV) boxes in lab spaces. |  |  |  | 0
Alternate No. 9 :Provide terrazzo flooring ILO linoleum tile flooring |  |  |  | 0
Alternate No. 10: Provide additional roller window shades at windows and curtain wall areas as indicated for this bid alternate |  |  |  | 152868
Alternate No. 11:Provide large format tile wall finish ILO painted GWB at upper level lobbies |  |  |  | 82467
Alternate No. 12: Remove spoils from site to PSU location ILO removing off-campus |  |  |  | 0
Alternate No. 13: Provide scissor lift in MER #M004 |  |  |  | 55900
Alternate No. 14: Shell Level 4 in its entirety |  |  |  | -250000
Alternate No. 15: Provide an increase in coverboard thickness (main roof area), increase thickness of KEE roofing membrane, and conduit power and 2" conduit controls to make building ready for addition of future Rooftop Photovoltaic Solar Array |  |  |  | 0
Alternate No. 16: Provide rooftop photovoltaic solar collector array on high roof |  |  |  | 0
Alternate No. 17: Provide Radon Mitigation System
Alternate No. 18: Provide Emergency Generator - Electrical