## OPP Safety Survey
OPP SERVICE GARAGE SAFETY SURVEY
Date:
Inspection Performed By: |  |  |  |  | *Responsible Supervisor:
Shop Areas: Garage | [5 empty] | Shop Tools (Hand and Power, Powder Actuated)
|  | Yes | No | N/A |  |  |  | Yes | No | N/A
Are shop floors clean / free from oil spills / slip, fall or tripping hazards? | [5 empty] | Is the employee properly trained and licensed (if applicable)?
Are safety isles clear of equipment and materials? | [5 empty] | Is the tool in good working order?
Is facility free of trash and debris? | [5 empty] | Are power tools grounded or double insulated?
Are tools and materials stored properly? | [5 empty] | Rotating or moving parts (chains, gears, belts, etc.) properly guarded.
Are overhead storage areas properly guarded (toe boards, railings)? | [5 empty] | Fixed machinery guarded to prevent splash, spark, and flying chip injuries.
Are storage areas secure (battery room, fuel storage)? | [5 empty] | Equipment and machines securely in place and anchored to prevent moving.
Are machine guards in place? | [5 empty] | Guards and safety interlocks not removed or defeated.
Safe clearance for equipment through aisles and doorways? | [5 empty] | Sufficient clearance around machines for safe operating and services.
Containers and materials stored, stacked, secured, and of limited height for stability. | [5 empty] | Power shut-off switch within reach of operator's position at each machine.
Are shelving and mezzanines properly rated (and marked) for loads? | [5 empty] | Users adequately trained to operate equipment or machines safely.
Is all equipment that is unsafe to operate tagged out and removed from service until properly repaired? | [5 empty] | Manually operated control switches and valves clearly identified and accessible.
Are all shop areas properly illuminated? | [5 empty] | Emergency stop buttons available and colored red.
Work area properly ventilated for type of equipment in use.
Tripping hazards are clearly marked. | [5 empty] | Equipment Washing Area |  | Yes | No | N/A
Is floor area clean / free from oil spills / slip, fall or tripping hazards?
Electrical Safety |  | Yes | No | N/A |  | Is area free of trash and debris?
Extension cords are not used as permanent wiring. | [5 empty] | Are ground fault interrupters installed, labeled and operating correctly?
Extension cords and power strips plugged directly into wall outlets.
Electrical cords not under carpets/rugs, through doorways, or high traffic area. | [5 empty] | General Employee Safety |  | Yes | No | N/A
Extension cords/power strips not daisy-chained to one another. | [5 empty] | Is appropriated head protection available and being used?
Power cords are in good condition with no splices or broken insulation. | [5 empty] | Appropriate eye protection is available and used if hazard present.
Grounding prongs not removed from 3-way plugs. | [5 empty] | Appropriate hand protection is available and used if hazard present.
Outlet, switch and junction box covers are in place and in good repair. | [5 empty] | Appropriate hearing protection is available and used if hazard present.
Circuit breaker panels and emergency shut offs unobstructed and labeled, locked | [5 empty] | Appropriate foot protection is available and used if hazard present.
Electrical outlets not overloaded with appliances, i.e. splitters used. | [5 empty] | Approved respirators available and used appropriately.
Ground Fault interrupters installed, labeled and operating correctly. | [5 empty] | Is equipment properly maintained?
Energized parts, circuits, and equipment guarded against accidental contact. | [5 empty] | Employees instructed in proper manner of lifting heavy objects.
Employees exercising proper lifting techniques.
OPP SERVICE GARAGE SAFETY SURVEY
Area Maintenance Safety |  | Yes | No | N/A |  | Tire Storage Building |  | Yes | No | N/A
Is the area properly illuminated? | [5 empty] | Are tires stored in order?
Is area free of tripping hazards - hole, uneven pavement, broken steps, exposed sharp surfaces (broken posts, reinforcing rods, sign break aways etc.)?
Are there any exposed wires or electrical hazards? | [5 empty] | Fuel Island |  | Yes | No | N/A
Are oil and gas spills reported, properly contained and cleaned up? | [5 empty] | Inspect fuel island and oil water separators for leaks and proper operation (use EHS check list).
Inspect fuel hoses, swivels and nozzles.
Personal Protection Equipment |  | Yes | No | N/A |  | Inspect driveway sealer.
Is appropriated head protection available? | [5 empty] | Inspect lighting.
Is protective clothing available (coveralls)?
Appropriate eye protection is available and used if hazard present.
Appropriate hand protection is available and used if hazard present.
Appropriate hearing protection is available and used if hazard present.
Appropriate foot protection is available and used if hazard present.
Protective clothing (coveralls, aprons, etc.) available and used if needed.
Approved respirators available and used appropriately.
Notes / Comments / Actions
S&S/2-25-09